## LOLER register
Asset ID | Description (make, model, serial) | Location | SWL | Type | Last thorough examination | Interval | Next due | Days until due | Interval check | Examiner (competent person or company) | Report ref | Defects and actions

## Example (made up)
Asset ID | Description (make, model, serial) | Location | SWL | Type | Last thorough examination | Interval | Next due | Days until due | Interval check | Examiner (competent person or company) | Report ref | Defects and actions
HST-001 | Mobile patient hoist, EX-150 (fictional), s/n SAMPLE-0001 | Ground floor, room 4 | 150 kg | Lifts people | 2026-10-27 | 6 months | 2027-04-27 |  |  | Specimen Inspection Services Ltd (fictional) | SAMPLE-2026-0042 | Hand control lead sheath split: replace by 27/11/2026
SLG-014 | Hoist sling, size M (fictional), s/n SAMPLE-0114 | Ground floor, room 4 | 200 kg | Lifting accessory | 2026-05-12 | 6 months | 2026-11-12 |  |  | Specimen Inspection Services Ltd (fictional) | SAMPLE-2026-0011 | None
DW-002 | Kitchen dumb waiter (fictional), s/n SAMPLE-0302 | Kitchen | 50 kg | Other lifting equipment | 2025-10-20 | 12 months | 2026-10-20 |  |  | Specimen Inspection Services Ltd (fictional) | SAMPLE-2025-0388 | None. Overdue: book the examination
BTH-003 | Bath hoist (fictional), s/n SAMPLE-0418 | First floor bathroom | 140 kg | Lifts people | 2026-09-15 | Examination scheme | 2027-01-15 |  |  | Specimen Inspection Services Ltd (fictional) | SAMPLE-2026-0390 | None. Scheme ref SAMPLE-SCH-07
Formulas:
Next due = IF([Last thorough examination]="","",IF([Interval]="6 months",EDATE([Last thorough examination],6),IF([Interval]="12 months",EDATE([Last thorough examination],12),"")))
Days until due = IF([Next due]="","",[Next due]-TODAY())

## Notes
LOLER lifting equipment register
LOLER lifting equipment register template from hovermarks.co.uk, last reviewed 31 October 2026. Not legal advice.
LOLER 1998 does not require a register by that name. It requires thorough examinations (regulation 9), a written report of each one containing the Schedule 1 information (regulation 10), and that the reports are kept available for inspection (regulation 11). A register is a practical way to see what is due.
Default intervals, regulation 9(3)(a): at least every 6 months for lifting equipment for lifting persons and for every accessory for lifting; at least every 12 months for other lifting equipment; or in accordance with an examination scheme drawn up by a competent person. Also after exceptional circumstances liable to jeopardise safety.
Where safety depends on the installation conditions, regulation 9(2) also requires a thorough examination after installation and after assembly at a new site or in a new location, before the equipment is put into service.
Retention, regulation 11(2)(a)(iv): a report of a periodic thorough examination is kept available for inspection until the next report is made, or for two years, whichever is later.
The Example sheet holds made-up data (fictional equipment, company and people). Delete it or overwrite it.
Next due is worked out from the interval. For an examination scheme, or where the report gives an earlier latest date for the next examination (Schedule 1 paragraph 8(d)), type the date over the formula. The report's date is the one that counts.
Sources: legislation.gov.uk/uksi/1998/2307 (regulations 2, 9, 10 and 11 and Schedule 1); HSE L113 Safe use of lifting equipment, second edition. Contains public sector information licensed under the Open Government Licence v3.0.
Column | What goes in it
Asset ID | Your own reference, ideally the same as the label or tag on the equipment.
Description (make, model, serial) | Enough to identify the equipment, as Schedule 1 paragraph 3 requires of the report.
Location | Where it is normally kept or used.
SWL | Safe working load, as stated on the last report (Schedule 1 paragraph 5).
Type | Lifts people (for example a patient hoist, passenger lift or MEWP) or Lifting accessory (for example a sling, shackle, eyebolt or lifting beam): 6 months by default. Other lifting equipment: 12 months by default (regulation 9(3)(a)).
Last thorough examination | The date of the examination on the latest report.
Interval | 6 months, 12 months, or Examination scheme when a competent person has drawn up a scheme for this equipment (regulation 9(3)(a)(iii)).
Next due | Worked out from the interval. For an examination scheme, type the date. Where the report states an earlier latest date for the next examination (Schedule 1 paragraph 8(d)), type that date over the formula.
Days until due | Turns amber within 30 days and red when overdue.
Interval check | Flags equipment that lifts people, or an accessory, set to 12 months.
Examiner (competent person or company) | Who carried out the last thorough examination.
Report ref | The number on the report, so you can find it when an inspector asks (regulation 11).
Defects and actions | Defects on the report, the time by which each must be fixed, and when it was done.